## Example Work Order
Version: 06
4263 Ranch Gate Rd Anaheim, CA 92807
Date | 2016-10-17
Initiated by | Gary
Customer Information |  |  |  | Comments
Account # | 00020
Name | Bill Klein
Hub License ID | 22567 |  |  | This will get when purchase the Hub - but is needed to create the MYHS account.
Hub Password | ZS2-99999 |  |  | This will get when purchase the Hub - but is needed to create the MYHS account.
Hub IP | 192.168.1.15 |  |  | This comes during installation using the "find.homeseer.com" command in the browser.
MyHS e-mail | gary@livesmarttech.com |  |  | This is the user's e-mail address unless we manage inder the LST "house" account which is Gary's e-mail.
MyHS password | lst2016 |  |  | lst2017
Greeting | Bill and Nancy |  |  | The Home screen should say "Hello Bill and Nancy" instead of "Hello Kelly's".
Devices |  |  |  |  | This is the total list of items
Item | Floor | Room | Device Name |  | Item | Floor | Room
Motion Sensor | Downstairs | Hallway | North Motion Sensor - Motion | The device names should appear on the "Motion Detection" screen with these names. | Motion Sensor | Basement | Garage
Motion Sensor | Upstairs | Bonus Room | Motion Sensor - Motion | The device names should appear on the "Motion Detection" screen with these names. | Door/Window Sensor | Downstairs | Den
Thermostat | Downstairs | Living Room | Thermostat | The device names should appear on the "Motion Detection" screen with these names. | Thermostat | Upstairs | Dining Room
Panic Button |  |  | Good Night Button |  | Lock | Third Floor | Kitchen
On/Off Switch | Upstairs | Hallway | Stairwell Light - Master | There should be a text field on the "Lighting" screen that says "Upstairs Stairwell" or just "Stairwell". | Panic Button | Virtual | Living Room
On/Off Switch | Downstairs | Living Room | Stairwell Light - Slave | No text field needed here. | Key Fob |  | Hallway
On/Off Switch | Downstairs | Outside | Porch Light | Device should be named "Porch Light" on the "Lighting" screen. There should be no text field for "Den" on that same screen since there is no call out on the WO. | Wireless Camera |  | Bonus Room
Smoke Detector | Downstairs | Den | Smoke Detector | The "Detectors" screen should have a text field for "Smoke - Downstairs Den". The other text field should be erased. | Siren |  | Master Bedroom
Lock | Downstairs | Garage | Back Door Lock | The "Lock" screen should be labeled "Garage Back Door" or just "Back Door. | Appliance Module |  | Bathroom
Door/Window Sensor | Downstairs | Dining Room | Sensor - Motion | The "Sensor" screen should have only one on it called "Dining Room Window". All other text fields should be erased. | On/Off Switch |  | Outside
[5 empty] | Dimming Switch |  | Kids Room
|  |  |  | Other | Smoke Detector |  | Virtual
|  |  |  | All Camera screens should be deleted. | Water Detector
|  |  |  | The "Home" screen should not have the word "Active" on the "Cameras" icon because there arn'e any in their system. | Garage Door Opener
|  |  |  | The "Device Status" screen should have text fields for all the battery powered devices. | Irrigation Control
Events
Outside Lights | On - Sunset, Off - 11:55pm |  |  | This would be programmed in HS3's "Events". | Indicates battery powered device
Low battery levels | For all upstairs battery powered devices |  |  | This would be programmed in HS3's "Events".
Good-Night | All lights, thermostats, locks, send text to Gary |  |  | This would be programmed in HS3's "Events".
Lock Codes
Summary Script
Lights | Yes
Door/Window sensors | Yes
Motion | Yes
Alarm | No
Locks
Detector | No
Special Instructions/Comments
May get a garage door opener down the road.
These are the phones number for text alerts
Name | Phone Number | Carrier
Gary | 714-224-6522 | AT&T
Kathy | 909-111-2222 | Verizon
Mark | 562- | T-Mobile
Work Order

## Virtual Devices
No | Floor | Room | Name | When Needed
1 | Virtual | Virtual | Event Log | Always
2 | Virtual | Virtual | Current Temperature
3 | Virtual | Virtual | Light Event Log
4 | Virtual | Virtual | Appliance Summary Status | When they have appliance modules
5 | Virtual | Virtual | Appliance Event Log
6 | Virtual | Virtual | Detector Event Log | When they have smoke or water detectors
7 | Virtual | Virtual | Detector Event Log
8 | Virtual | Virtual | Detector Summary Status
9 | Virtual | Virtual | Motion Event Log | When they have motion sensors
10 | Virtual | Virtual | Motion Summary Status
11 | Virtual | Virtual | Motion Summary Time
12 | Virtual | Virtual | Motion Summary Device
13 | Virtual | Virtual | Sensor Summay Status | When they have Door or Window sensors
14 | Virtual | Virtual | Sensor Event Log
15 | Virtual | Virtual | Alarm | When they have an Alarm
16 | Virtual | Virtual | Alarm Pending
17 | Virtual | Virtual | Alarm Triggered
18 | Virtual | Virtual | Lock Event Log | When they have locks